PRODUCT SPECIFICATION SHEET

SAVONA CLARITAS DIRECT FILL SOAP DISPENSER

### KHP Part No: SPD SAV CLT DIR UNP

DESCRIPTION

(   A soap dispenser delivering a range of options.

(   Containing refillable tank and nozzle assembly. Suited to standard KHP soaps. Other soaps of a similar, smooth consistency would be compatible.

(   The ‘Pump Assembly’, offers a push or pull action, this is set by the installation personnel.

(   It is advised that units are screwed to the wall using the 3 screws provided in the fixing pack.

(   Adhesive pad kits are available, in a standard form or a special cold application version.

(   Cover opens at the top using the key provided.

(   Window allows verification of remaining contents.

(   Nominal 0.50ml per dose.

## DIMENSIONS

# MATERIALS

Constructed fully from recyclable thermoplastics.

# PACKAGING

Individual units are packed in a polythene bag with a fixing pack. 12 units and one instillation/operating instruction sheet.

Individual weight of unit: 525grams

Box size: 496mm x 336mm x 241mm

Total Weight: 6.75Kg

# Text boxes

110.0mm

115.0mm

242.0mm